## Fire safety System
R. K. Talreja College of Arts, Science and Commerce, Ulhasnagar - 421003
Tender name: Supply, Installation, Testing, Commissioning, and Maintenance of Fire Safety System |  |  |  | Date: 02-10-2026
Tender Desciption
Quotations are invited from experienced and authorized fire safety agencies for the Supply, Installation, Testing, Commissioning, and Maintenance of Fire Safety Systems at our premises.
Scope of Work
Supply and installation of fire extinguishers, smoke detectors, fire alarm system, emergency exit signage, and other fire safety equipment as required.
Testing and commissioning of the complete system.
Training for staff on the use of fire safety equipment.
Compliance with applicable Fire Department and BIS/NBC standards.
Bill of Quantities (BOQ)
The quantities mentioned below are indicative. Bidders shall verify the actual site conditions before submitting their quotation.
Sr. No. | Description | Unit | Qty. | Rate (₹) | Amount (₹)
1 | ABC Fire Extinguisher (4/6 Kg) Supply & Installation | Nos. | As Required
2 | CO₂ Fire Extinguisher | Nos. | As Required
3 | Refilling/Servicing of Fire Extinguishers | Nos. | As Required
4 | Smoke Detector | Nos. | As Required
5 | Heat Detector | Nos. | As Required
6 | Manual Call Point | Nos. | As Required
7 | Fire Alarm Hooter/Sounder | Nos. | As Required
8 | Fire Alarm Control Panel | Nos. | As Required
9 | Emergency Exit Sign Board | Nos. | As Required
10 | Emergency Light | Nos. | As Required
11 | Hose Reel/Hydrant Accessories | Lot | As Required
12 | Testing & Commissioning | Lot | 1
13 | One-Year Comprehensive AMC | Lot | 1
CGST
IGST
Total
Note: Bidders are advised to visit the site before submitting their financial bid.